- ESFR-20*– Wall mounted, freeze resistant emergency shower with ABS plastic shower head (optional stainless steel shower head “SSH”), internal 20 GPM flow control, 1” IPS chrome-plated brass stay-open ball valve, and epoxy powder-coated flag handle.  Unit shall include ANSI compliant sign.

- Performance:  Unit shall be hydrostatically tested to meet or exceed ANSI Z358.1 – 2014, and come with a full 2-year warranty.

- Fixture:  Guardian Equipment GFR1205 and GFR1205SSH